Human body temperature camera

key features：

Support real-time temperature correction for black body to achieve accurate temperature measurement, temperature measurement accuracy ≤ ± 0.3 ℃ (without black body temperature measurement accuracy ≤ ± 0.5 ℃)

 Use infrared thermal imaging body temperature detection to achieve long-range, non-contact rapid temperature measurement and reduce the risk of infection

 High-sensitivity detector with thermal imaging resolutions of 384x288 and 640x480, supporting contrast adjustment;

 Automatic and rapid temperature measurement and screening for multiple targets at the same time to meet the efficient temperature measurement and screening in dense areas of large areas;

 Supports pre-set temperature alarm thresholds, automatic alarms for abnormal temperature, and automatic capture of fever targets to provide evidence for subsequent evidence collection;

 Support intelligent face capture recognition function, personnel information can be found, reducing misjudgment and more accurate;

 Equipped with a 10,000-level face database as standard, which can be used for face control, can be linked with public security population information management platforms, or quickly connect to third-party platforms, control personnel identity information and activity trajectory, and focus on abnormal personnel

 Supports automatic temperature calibration, reducing manual work and improving efficiency;

 Equipped with temperature measurement client software and visual data platform to manage regional data at a glance, realize record backtracking, data analysis, etc .;

 Quick deployment, support for tripod and easy installation, can be quickly removed afterwards;

Specifications

|  | 产品型号 | 备注 |
| --- | --- | --- |
| Without black body | HRT384 | Temperature measurement accuracy: ≤ ±0.5℃, thermal imaging resolution: 384*288, visible light resolution: 2 million |
|  | HRT640 | Temperature measurement accuracy: ≤ ±0.5℃, thermal imaging resolution: 640*480, visible light resolution: 2 million |
| With blackbody | HRT384H | Temperature measurement accuracy: ≤ ±0.5℃, thermal imaging resolution: 384*288, visible light resolution: 2 million |
|  | HRT640H | Temperature measurement accuracy: ≤ ±0.5℃, thermal imaging resolution: 640*480, visible light resolution: 2 million |

Application:

Rapid temperature screening can be conducted in crowded public places. Once the target of excessive body temperature is detected, it will automatically alarm and take photos, which can be used to screen people with fever in large areas, improve the prevention and control efficiency of the epidemic and greatly reduce the risk of infection. To control and reduce the spread of fever outbreaks such as ebola, SARS, zika, xinguan, etc. Large areas of personnel temperature monitoring in airports, ports, bus stations and other public transport places

Technical specs：

| Model | Name |  |  |
| --- | --- | --- | --- |
|  | Model | HRT384&640 | HRT384&640H |
| Thermal camera | Sensor type | ULIS | Ulis |
|  | Resolution | 384*288/640*480 | 384*288/640*480 |
|  | Pixel size | 17μm | 17μm |
|  | Work wave | 8-14μm | 8-14μm |
|  | NETD | <50mk@300K,f1.0 | <50mk@300K,f1.0 |
|  | Optics | 8mm、13mm、19mm、25mm optional | 8mm、13mm、19mm、25mm optional |
|  | Frequency | 50fps | 50fps |
|  | Image color | White hot/Black hot/sepia/IRON/rainbow | White hot/Black hot/sepia/IRON/rainbow |
| Temperature | Range | 26℃-46℃ | 26℃-46℃ |
|  | blackbody | No | yes |
|  | Accuracy | ≤ ± 0.5℃ | ≤ ± 0.3℃ |
|  | Measure distance | 1m to 8m base on the optics | 1m to 8m base on the optics |
|  | Multi-objective temperature measurement | support | support |
| Visible camera | Sensor type | CMOS low |  |
|  | Resolution | 200W（1920*1080）、400W(2560×1440)optional |  |
|  | Video coding standard | H.264B、H.264M、H.264H、H.265、MJPEG、SVC |  |
|  | Lens interface | M12 |  |
|  | Focus | Optional 3.6mm、6mm、8mm、12mm fixed lens |  |
| Face recognition | The intelligence function | Face detection, face tracking, face optimization, face attributes, face recognition, face exposure, face enhancement |  |
|  | Face capture performance | At the same time, the maximum detection of 30 faces, the detection of the minimum pixel and the maximum pixel can be set, the detection area can be set |  |
|  |  | Face matting, half matting, full matting; The capture rate is not less than 98%, and the repeat capture rate is less than 5% |  |
|  | Face capture mode | Optimal mode, automatic mode, monitoring mode, snapshot number and time can be set |  |
|  | Face attribute analysis | Age, gender, mask, glasses, expression, etc |  |
|  | Face recognition efficiency | Recognition accuracy ≥99.50%, recognition speed ≤ 0.2s |  |
|  | Face library management | In the tube of the face bank of up to 3 people, the largest face bank of 30,000 people, and the storage of 100,000 comparison records |  |
|  | Black and white list | Support blacklist and whitelist comparison, blacklist layout alarm |  |
| Software function | Parameter setting | video adjustment, alarm sensitivity setting, shielding area setting, area of interest, etc |  |
|  | Temperature alarm | high temperature alarm, automatic alarm map capture |  |
|  | History data | historical alarm data, historical alarm data processing |  |
|  | Temperature correction | supports automatic temperature correction of body surface |  |
| Interfaces | Comm interface | Two 10/100m adaptive Ethernet ports RJ45 |  |
|  | Alarm and voice | Alarm 1 in 1 out, audio 1 in 1 out |  |
|  | Storage | Micro SD/SDHC/SDXC卡(128G)，support offline transmission |  |
|  | Signal interface | 1 RS485 interface |  |
| General parameter | Power input | DC12V±20% ，power consumption ≤10W |  |
|  | Environment | Work temp：-10~50℃ ＜90%（非冷凝）、storage -20~60℃ |  |
|  | Protection level | Metal structure, anti - surge, anti - static, anti - lightning design |  |
|  | dimension(mm) | 125(L)*70(W)*110(H) |  |